## Sheet1
Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential
Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :-
Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty
Taskno | TASKNM | Unit_Name | VOLOFWORK | volofworklab | Material_No | ML_Name | ML_Unit | Qty_Required | Price_expected | Tree_Id | PriceExpected_Basic | Type | Tax_Scheme_Id | Tax_Amt | Tax_Scheme_Name
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 12979 | S & I Sprinkler alarm valve 150mm dia | No. | 2.0000 | 46862.52 | 155.001.001.005.003.002. | 46862.52 | Labour | 0 | 0.0000
315016 | Fire Brigade Breaching and Siamese | Job | 0.0000 | 0.0000 | 12280 | S & I Fire water drawoff connection | set | 1.0000 | 22631.22 | 155.001.001.005.003.004. | 22631.22 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 12993 | S & I Butterfly Valve 250mm dia | No. | 8.0000 | 23820.66 | 155.001.001.005.003.005. | 23820.66 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 11879 | S & I NRV 200mm dia | No. | 3.0000 | 37136.96 | 155.001.001.005.003.005. | 37136.96 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 13018 | S & I of CI Horizotal Y-Type Strainer 150mm dia | No. | 2.0000 | 21704.92 | 155.001.001.005.003.005. | 21704.92 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 13004 | S & I of Fire Sprinkler Annunciation panel | No. | 1.0000 | 28574.88 | 155.001.001.005.003.005. | 28574.88 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 13005 | S & I of MS Pressure vessel of Suitable capacity & PN 25 | No. | 1.0000 | 43433.44 | 155.001.001.005.003.005. | 43433.44 | Labour | 0 | 0.0000
295354 | Project QA/QC Work | Per Project | 0.0000 | 0.0000 | 9408 | Safety Audit | Job | 12.0000 | 16520 | 155.001.001.008.011.007. | 16520 | Labour | 0 | 0.0000
299776 | Housekeeping Work | Per Project | 0.0000 | 0.0000 | 10373 | Housekeeper | Month | 6.0000 | 17676.4 | 155.001.001.008.030.001. | 17676.4 | Labour | 0 | 0.0000
299776 | Housekeeping Work | Per Project | 0.0000 | 0.0000 | 14088 | Pantry | Month | 20.0000 | 18579.1 | 155.001.001.008.030.001. | 18579.1 | Labour | 167 | 3.6000 | C+S GST 18% I/P RD
291405 | Housekeeping Work (Nov 23 to June 24) | Per Project | 0.0000 | 0.0000 | 10373 | Housekeeper | Month | 16.0000 | 20178 | 155.001.001.008.030.002. | 20178 | Labour | 0 | 0.0000
291405 | Housekeeping Work (Nov 23 to June 24) | Per Project | 0.0000 | 0.0000 | 14088 | Pantry | Month | 16.0000 | 20178 | 155.001.001.008.030.002. | 20178 | Labour | 167 | 2.8800 | C+S GST 18% I/P RD
299798 | Staircase Scaffolding Rental Work | Per Project | 0.0000 | 0.0000 | 2843 | Scaffolding Work | No. | 6.0000 | 30523.06 | 155.001.001.008.031.001. | 30523.06 | Labour | 0 | 0.0000
257988 | Electrical work (Labour) | No. | 0.0000 | 0.0000 | 12446 | Electrical Labour | No. | 8.0000 | 18707.38 | 155.001.001.005.001. | 18707.38 | Labour | 167 | 1.4400 | C+S GST 18% I/P RD
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 13013 | S & I Hose Pipe With CRCA Cabinet | No. | 34.0000 | 14458.54 | 155.001.001.005.003.002. | 14458.54 | Labour | 0 | 0.0000
315015 | External Hydrant System | Job | 0.0000 | 0.0000 | 13013 | S & I Hose Pipe With CRCA Cabinet | No. | 8.0000 | 14458.54 | 155.001.001.005.003.003. | 14458.54 | Labour | 0 | 0.0000
315016 | Fire Brigade Breaching and Siamese | Job | 0.0000 | 0.0000 | 12269 | S & I Butterfly Valve 200mm dia | No. | 1.0000 | 14616.66 | 155.001.001.005.003.004. | 14616.66 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 12269 | S & I Butterfly Valve 200mm dia | No. | 1.0000 | 14616.66 | 155.001.001.005.003.005. | 14616.66 | Labour | 0 | 0.0000
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 10856 | 200 Amp MCCB 4 Pole | No. | 1.0000 | 15930 | 155.001.001.008.020.001. | 15930 | Labour | 0 | 0.0000
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 14019 | S&E Erection OF LT Mini Feeder Pillar | No. | 1.0000 | 16500 | 155.001.001.008.020.001. | 16500 | Labour | 167 | 0.1800 | C+S GST 18% I/P RD
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 13819 | S&E Of 4 way LT Feeder Pillar | No. | 1.0000 | 29800 | 155.001.001.008.020.001. | 29800 | Labour | 167 | 0.3600 | C+S GST 18% I/P RD
291629 | Project Excavation Work | Per Project | 0.0000 | 0.0000 | 13983 | 2 HP pump rent | Month | 4.0000 | 8000 | 155.001.001.002.003.003. | 8000 | Labour | 167 | 0.7200 | C+S GST 18% I/P RD
291118 | Aluminium Formwork | Per Project | 0.0000 | 0.0000 | 28004 | Aluminium Formwork | Sq.Mt | 2446.3600 | 9691.8475 | 155.001.001.003.001. | 9691.8475 | Material | 167 | 440.3400 | C+S GST 18% I/P RD
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 13206 | S & I of CI Horizotal Y-Type Strainer 100mm | No. | 1.0000 | 9089 | 155.001.001.005.003.002. | 9089 | Labour | 167 | 0.1800 | C+S GST 18% I/P RD
315016 | Fire Brigade Breaching and Siamese | Job | 0.0000 | 0.0000 | 13199 | S&I 3way inlet GI Pipe C Class 150 mm Dia | No. | 1.0000 | 14336 | 155.001.001.005.003.004. | 14336 | Labour | 167 | 0.1800 | C+S GST 18% I/P RD
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 13206 | S & I of CI Horizotal Y-Type Strainer 100mm | No. | 1.0000 | 9089 | 155.001.001.005.003.005. | 9089 | Labour | 167 | 90.0000 | C+S GST 18% I/P RD
258286 | Project CCTV Work | Per Bldg. | 0.0000 | 0.0000 | 28332 | UPS 1KVA | No. | 1.0000 | 7693.5 | 155.001.001.008.002. | 7693.5 | Material | 167 | 0.1800 | C+S GST 18% I/P RD
295685 | Dewatering Work | Per Project | 0.0000 | 0.0000 | 13983 | 2 HP pump rent | Month | 3.0000 | 8000 | 155.001.001.008.004.001. | 8000 | Labour | 167 | 0.5400 | C+S GST 18% I/P RD
270131 | Project Fabrication Work | Per Project | 0.0000 | 0.0000 | 9207 | Fabrication Work | Job | 2.0000 | 14025.4237 | 155.001.001.008.014. | 14025.4237 | Labour | 167 | 0.3600 | C+S GST 18% I/P RD
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 10857 | Enclosure for 200 Amp MCCB 4 Pole | No. | 1.0000 | 8577 | 155.001.001.008.020.001. | 8577 | Labour | 0 | 0.0000