## Sheet1
Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential | Project :- August Towers PH-1 - Residential
Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :- | Selected Group :-
Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty
Taskno | TASKNM | Unit_Name | VOLOFWORK | volofworklab | Material_No | ML_Name | ML_Unit | Qty_Required | Price_expected | Tree_Id | PriceExpected_Basic | Type | Tax_Scheme_Id | Tax_Amt | Tax_Scheme_Name
269524 | B4 Floor Rock Anchoring 32MM | No. | 1023.0000 | 1023.0000 | 11913 | Rock anchoring | No. | 1023.0000 | 450 | 155.001.001.002.001.001.001. | 450 | Labour | 0 | 0.0000
282862 | B4 Floor Vertical Rock Anchoring 16mm & 25mm | Per Project | 760.0000 | 0.0000 | 11913 | Rock anchoring | No. | 760.0000 | 331.5763 | 155.001.001.002.001.001.006. | 331.5763 | Labour | 0 | 0.0000
299506 | B4 Floor R/Wall Rock Anchoring 25mm | No. | 50.0000 | 0.0000 | 11913 | Rock anchoring | No. | 50.0000 | 4300 | 155.001.001.002.001.001.022. | 4300 | Labour | 0 | 0.0000
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 9598 | S & I Butterfly Valve 100mm dia | No. | 2.0000 | 4310 | 155.001.001.005.003.002. | 4310 | Labour | 0 | 0.0000
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 12519 | S.S Landing Valve | No. | 34.0000 | 4708 | 155.001.001.005.003.002. | 4708 | Labour | 167 | 6.1200 | C+S GST 18% I/P RD
315015 | External Hydrant System | Job | 0.0000 | 0.0000 | 14199 | S&I of 65mm N.B Single Hydrant outlet landing valve | No. | 8.0000 | 4698 | 155.001.001.005.003.003. | 4698 | Labour | 0 | 0.0000
315016 | Fire Brigade Breaching and Siamese | Job | 0.0000 | 0.0000 | 13198 | S&I 4way inlet GI Pipe C Class 150 mm Dia | set | 2.0000 | 17920 | 155.001.001.005.003.004. | 17920 | Labour | 167 | 0.3600 | C+S GST 18% I/P RD
315020 | Automatic Sprinkler System | No. | 0.0000 | 0.0000 | 9598 | S & I Butterfly Valve 100mm dia | No. | 30.0000 | 4310 | 155.001.001.005.003.007. | 4310 | Labour | 0 | 0.0000
294461 | Site Office Expenses | Per Project | 0.0000 | 0.0000 | 7490 | Kitchen platform | No. | 1.0000 | 5508.4746 | 155.001.001.008.003. | 5508.4746 | Labour | 0 | 0.0000
291661 | Site Borewell Work | Per Project | 0.0000 | 0.0000 | 2648 | Ground Water Survey For Bore W | No. | 1.0000 | 4000 | 155.001.001.008.005. | 4000 | Labour | 0 | 0.0000
291661 | Site Borewell Work | Per Project | 0.0000 | 0.0000 | 5541 | Pump Removing & Refitting | No. | 2.0000 | 5500 | 155.001.001.008.005. | 5500 | Labour | 0 | 0.0000
292640 | Project Plumbing Work | Per Project | 0.0000 | 0.0000 | 12748 | Plumbing work (L) | Job | 1.0000 | 6000 | 155.001.001.008.006. | 6000 | Labour | 167 | 9000.0000 | C+S GST 18% I/P RD
295354 | Project QA/QC Work | Per Project | 0.0000 | 0.0000 | 31044 | Digital Controller | No. | 1.0000 | 12407.8983 | 155.001.001.008.011.007. | 12407.8983 | Material | 167 | 0.3600 | C+S GST 18% I/P RD
309509 | MPCB Work | Per Project | 0.0000 | 0.0000 | 31477 | Mono Filament Green Net | Bundle | 20.0000 | 4955.3475 | 155.001.001.008.011.008. | 4955.3475 | Material | 167 | 3.6000 | C+S GST 18% I/P RD
256829 | Portable Toilet | Month | 0.0000 | 0.0000 | 5705 | Transport Charges | No. | 2.0000 | 3000 | 155.001.001.008.016.001. | 3000 | Labour | 0 | 0.0000
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 13557 | Liasioning Charges.. | Job | 1.0000 | 4500 | 155.001.001.008.020.001. | 4500 | Labour | 167 | 0.1800 | C+S GST 18% I/P RD
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 5705 | Transport Charges | No. | 3.0000 | 3646.6695 | 155.001.001.008.020.001. | 3646.6695 | Labour | 0 | 0.0000
299798 | Staircase Scaffolding Rental Work | Per Project | 0.0000 | 0.0000 | 5705 | Transport Charges | No. | 3.0000 | 12000 | 155.001.001.008.031.001. | 12000 | Labour | 167 | 540.0000 | C+S GST 18% I/P RD
291629 | Project Excavation Work | Per Project | 0.0000 | 0.0000 | 14135 | chemical Blasting Bags | No. | 75.0000 | 2200 | 155.001.001.002.003.003. | 2200 | Labour | 167 | 13.5000 | C+S GST 18% I/P RD
291629 | Project Excavation Work | Per Project | 0.0000 | 0.0000 | 13907 | Green Hose Pipe 3'' | Bundle | 2.0000 | 1789.5 | 155.001.001.002.003.003. | 1789.5 | Labour | 167 | 0.3600 | C+S GST 18% I/P RD
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 9616 | S & I Air Release valve | No. | 2.0000 | 1710 | 155.001.001.005.003.002. | 1710 | Labour | 0 | 0.0000
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 9660 | S & I Pressure Gauge | No. | 2.0000 | 1855 | 155.001.001.005.003.002. | 1855 | Labour | 0 | 0.0000
315014 | Internal Hydrant System | Job | 0.0000 | 0.0000 | 9612 | S & I S.S. Orifice Plates | No. | 34.0000 | 1453 | 155.001.001.005.003.002. | 1453 | Labour | 0 | 0.0000
315015 | External Hydrant System | Job | 0.0000 | 0.0000 | 9612 | S & I S.S. Orifice Plates | No. | 8.0000 | 1453 | 155.001.001.005.003.003. | 1453 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 13003 | S & I Pressure gauge 100mm dia | No. | 4.0000 | 1855 | 155.001.001.005.003.005. | 1855 | Labour | 0 | 0.0000
315017 | Fire Pumps Access( Piping & Valves ) | Job | 0.0000 | 0.0000 | 9661 | S & I Pressure switch | No. | 2.0000 | 2422 | 155.001.001.005.003.005. | 2422 | Labour | 0 | 0.0000
315020 | Automatic Sprinkler System | No. | 0.0000 | 0.0000 | 9660 | S & I Pressure Gauge | No. | 34.0000 | 1937 | 155.001.001.005.003.007. | 1937 | Labour | 0 | 0.0000
315020 | Automatic Sprinkler System | No. | 0.0000 | 0.0000 | 13208 | S&I 25mm dia gun metal air release valve | No. | 2.0000 | 1710 | 155.001.001.005.003.007. | 1710 | Labour | 167 | 200.0000 | C+S GST 18% I/P RD
315021 | Fire Extinguishers | No. | 0.0000 | 0.0000 | 13534 | Carbon Dioxide -CO2 Sensor | No. | 6.0000 | 5327 | 155.001.001.005.003.008. | 5327 | Labour | 167 | 2.1600 | C+S GST 18% I/P RD
315021 | Fire Extinguishers | No. | 0.0000 | 0.0000 | 12275 | S & I Fire Bucket | set | 6.0000 | 2422 | 155.001.001.005.003.008. | 2422 | Labour | 0 | 0.0000
261640 | Electrical Work | Per Project | 0.0000 | 0.0000 | 13435 | Material lumsum | set | 1.0000 | 21431 | 155.001.001.008.001. | 21431 | Material | 157 | 0.4800 | C+S GST 5% I/P RD
295685 | Dewatering Work | Per Project | 0.0000 | 0.0000 | 7925 | Hose pipe(L) | No. | 4.0000 | 2500 | 155.001.001.008.004.001. | 2500 | Labour | 0 | 0.0000
293429 | Site Operating IT Expenses | Per Project | 1.0000 | 1.0000 | 31687 | 8 Port Switch | No. | 1.0000 | 2200 | 155.001.001.008.009. | 2200 | Material | 167 | 0.1800 | C+S GST 18% I/P RD
286650 | Project Safety Work | Per Project | 0.0000 | 0.0000 | 30986 | Safety Park Board | No. | 1.0000 | 4542.7458 | 155.001.001.008.011.001. | 4542.7458 | Material | 167 | 0.3600 | C+S GST 18% I/P RD
291523 | QA QC/ Material Testing Charges | Per Project | 0.0000 | 0.0000 | 31582 | Wheel Barrow | No. | 3.0000 | 3375 | 155.001.001.008.011.005. | 3375 | Material | 167 | 0.5400 | C+S GST 18% I/P RD
256829 | Portable Toilet | Month | 0.0000 | 0.0000 | 5882 | Portable Toilet Cabins | Month | 14.0000 | 2864.2881 | 155.001.001.008.016.001. | 2864.2881 | Labour | 0 | 0.0000
256829 | Portable Toilet | Month | 0.0000 | 0.0000 | 9574 | Portable Toilet Cabins Cleaning Charges | Month | 14.0000 | 2807.1441 | 155.001.001.008.016.001. | 2807.1441 | Labour | 0 | 0.0000
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 12675 | Fixing of CT Meter | No. | 1.0000 | 2250 | 155.001.001.008.020.001. | 2250 | Labour | 167 | 4770.0000 | C+S GST 18% I/P RD
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 8239 | Supply of LT Earthing | No. | 4.0000 | 2450 | 155.001.001.008.020.001. | 2450 | Labour | 0 | 0.0000
291960 | Steel yard compound wall fabrication work | Per Project | 0.0000 | 0.0000 | 6858 | Fabrication Work | No. | 8.0000 | 1610.1695 | 155.001.001.008.024. | 1610.1695 | Labour | 0 | 0.0000
307612 | Earthing Work For DG | Per Project | 0.0000 | 0.0000 | 4327 | PRO & MAKING EARTHING | No. | 8.0000 | 2675 | 155.001.001.008.029.003. | 2675 | Labour | 0 | 0.0000
261164 | Sales Office Work | Per Project | 0.0000 | 0.0000 | 4664 | TRANSPORTATION CHARGES | No. | 1.0000 | 2500 | 155.001.002.003.002.001. | 2500 | Labour | 0 | 0.0000
292203 | RCC Misc Work | Per Project | 0.0000 | 0.0000 | 14070 | Breaking Work- | No. | 7.0000 | 1200 | 155.001.001.002.001.038.001. | 1200 | Labour | 167 | 1.2600 | C+S GST 18% I/P RD
315021 | Fire Extinguishers | No. | 0.0000 | 0.0000 | 13210 | S&I ABC Type Powder 6Kg | No. | 124.0000 | 1371 | 155.001.001.005.003.008. | 1371 | Labour | 167 | 2232.0000 | C+S GST 18% I/P RD
295685 | Dewatering Work | Per Project | 0.0000 | 0.0000 | 31903 | 1HP single Phase curing pump | No. | 1.0000 | 12830 | 155.001.001.008.004.001. | 12830 | Material | 167 | 1.9800 | C+S GST 18% I/P RD
287000 | Department / Common Work | Per Project | 0.0000 | 0.0000 | 10507 | Tile Mason | No. | 6.5000 | 932.2034 | 155.001.001.008.008.001. | 932.2034 | Labour | 0 | 0.0000
286650 | Project Safety Work | Per Project | 0.0000 | 0.0000 | 31939 | Nylon Rope 8mm | Bundle | 10.0000 | 1082.4492 | 155.001.001.008.011.001. | 1082.4492 | Material | 167 | 1.8000 | C+S GST 18% I/P RD
286650 | Project Safety Work | Per Project | 0.0000 | 0.0000 | 31426 | Safety Shoes | Pair | 24.0000 | 1042.2966 | 155.001.001.008.011.001. | 1042.2966 | Material | 167 | 4.3200 | C+S GST 18% I/P RD
291412 | QC Lab Work | Per Project | 0.0000 | 0.0000 | 31306 | Digital Vernier | set | 1.0000 | 2655 | 155.001.001.008.011.003. | 2655 | Material | 167 | 0.3600 | C+S GST 18% I/P RD
298993 | Labour Camp Civil Work | Per Project | 0.0000 | 0.0000 | 4036 | Making of Counter | No. | 2.0000 | 1271.1864 | 155.001.001.008.015.002. | 1271.1864 | Labour | 0 | 0.0000
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 14022 | S&L Of L T Cable 3.5C X 300 Sq.mm | Mtrs | 460.0000 | 1220 | 155.001.001.008.020.001. | 1220 | Labour | 167 | 82.8000 | C+S GST 18% I/P RD
290706 | LT Cable Construction Meter | Per Project | 0.0000 | 0.0000 | 8216 | Supply of Termination Kit 3.5C x 300mm² LT Cable | No. | 10.0000 | 1300 | 155.001.001.008.020.001. | 1300 | Labour | 0 | 0.0000
292561 | Site Operating Electrical Work | Per Project | 0.0000 | 0.0000 | 31509 | LED Halogen 100Watt | No. | 5.0000 | 1213.3644 | 155.001.001.008.026. | 1213.3644 | Material | 167 | 0.9000 | C+S GST 18% I/P RD
298555 | Project Electrical Work | Per Project | 0.0000 | 0.0000 | 31509 | LED Halogen 100Watt | No. | 25.0000 | 1213.3644 | 155.001.001.008.029.002. | 1213.3644 | Material | 167 | 4.5000 | C+S GST 18% I/P RD
315021 | Fire Extinguishers | No. | 0.0000 | 0.0000 | 9610 | S & I Firemans Axe | No. | 34.0000 | 872 | 155.001.001.005.003.008. | 872 | Labour | 0 | 0.0000
294461 | Site Office Expenses | Per Project | 0.0000 | 0.0000 | 31502 | Project Information Board | No. | 1.0000 | 1014.0085 | 155.001.001.008.003. | 1014.0085 | Material | 167 | 0.1800 | C+S GST 18% I/P RD
287000 | Department / Common Work | Per Project | 0.0000 | 0.0000 | 1334 | Carpenter | No. | 4.5000 | 900 | 155.001.001.008.008.001. | 900 | Labour | 167 | 0.8200 | C+S GST 18% I/P RD
286650 | Project Safety Work | Per Project | 0.0000 | 0.0000 | 31503 | Contact Board | No. | 1.0000 | 1014.0085 | 155.001.001.008.011.001. | 1014.0085 | Material | 167 | 0.1800 | C+S GST 18% I/P RD
286650 | Project Safety Work | Per Project | 0.0000 | 0.0000 | 31502 | Project Information Board | No. | 1.0000 | 1014.0085 | 155.001.001.008.011.001. | 1014.0085 | Material | 167 | 0.1800 | C+S GST 18% I/P RD
270131 | Project Fabrication Work | Per Project | 0.0000 | 0.0000 | 14111 | Mason- | No. | 24.0000 | 1037.5 | 155.001.001.008.014. | 1037.5 | Labour | 167 | 4.3200 | C+S GST 18% I/P RD
310326 | Departmental Work (BCL ) 05-09-2024 to 28-12-2024 | Per Project | 0.0000 | 0.0000 | 14111 | Mason- | No. | 10.0000 | 1037.5 | 155.001.001.008.030.003.002. | 1037.5 | Labour | 167 | 1.8000 | C+S GST 18% I/P RD
310327 | Departmental Work (BCL ) 10-01-2025 to 17-01-2025 | Per Project | 0.0000 | 0.0000 | 14111 | Mason- | No. | 24.0000 | 1037.5 | 155.001.001.008.030.003.003. | 1037.5 | Labour | 167 | 4.3200 | C+S GST 18% I/P RD
312163 | Departmental Work ( 28-12-2024 to 06-01-2025 ) | Per Project | 0.0000 | 0.0000 | 14111 | Mason- | No. | 24.0000 | 1037.5 | 155.001.001.008.030.003.005. | 1037.5 | Labour | 167 | 4.3200 | C+S GST 18% I/P RD
261164 | Sales Office Work | Per Project | 0.0000 | 0.0000 | 21508 | P.V.C.Water Tank 1000 Litres | No. | 2.0000 | 4650 | 155.001.002.003.002.001. | 4650 | Material | 167 | 1.6400 | C+S GST 18% I/P RD