## Sheet1
Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6 | Project :- BRAMHACORP THE COLLECTION - RESIDENTIAL W5+W6
Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6 | Selected Group :- The Collection - Residential W5+W6
Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty
Taskno | TASKNM | Unit_Name | VOLOFWORK | volofworklab | Material_No | ML_Name | ML_Unit | Qty_Required | Price_expected | Tree_Id | PriceExpected_Basic | Type | Tax_Scheme_Id | Tax_Amt | Tax_Scheme_Name
190830 | Architects Consultancy Charges | Sq.Ft | 472757.0000 | 472757.0000 | 7752 | Architectural & Liaisoning services | Sq.Ft | 472757.0000 | 9.44 | 132.001.001.001.001.001. | 9.44 | Labour | 167 | 680770.0800 | C+S GST 18% I/P RD
257131 | MEP Consultancy Charges | Sq.Ft | 410511.0000 | 410511.0000 | 7075 | Consultancy Charges For MEP. | Sq.Ft | 410511.0000 | 5.02 | 132.001.001.001.001.002. | 5.02 | Labour | 167 | 314040.9200 | C+S GST 18% I/P RD
258194 | Consultancy for RCC Design - Upto Podium level | Sq.Ft | 122618.0000 | 122618.0000 | 5427 | Consultancy charges for RCC. | Sq.Ft | 122618.0000 | 5.9 | 132.001.001.001.002. | 5.9 | Labour | 0 | 0.0000
258195 | Consultancy for RCC Design - Above Podium level | Sq.Ft | 289731.0000 | 289731.0000 | 5427 | Consultancy charges for RCC. | Sq.Ft | 289731.0000 | 5.9 | 132.001.001.001.003. | 5.9 | Labour | 0 | 0.0000
149006 | W5 Excavation Work Excavation Work | Cu.Mtrs | 0.0000 | 0.0000 | 6704 | Excavation in Soil/Soft Murum | Cu.Mtrs | 4099.0000 | 153.4 | 132.001.001.002.001.001. | 153.4 | Labour | 195 | 0.0000 | ZERO 0%
306813 | W5+W6 Upto Basement 4 Floor R/wall Back lvl-81.00 Plum concr | Cu.Mtrs | 839.0520 | 839.0520 | 1956 | Plum concrete | Cu.Ft | 29601.7500 | 27.14 | 132.001.001.002.002.001.026. | 27.14 | Labour | 167 | 79924.7300 | C+S GST 18% I/P RD
191275 | W5+W6 Upto Basement 3 Floor lvl-83.90 RCC Labour Work | Sq.Ft | 16416.2900 | 16416.2900 | 4097 | RCC Retaining Wall | Sq.Ft | 4150.4300 | 194.7 | 132.001.001.002.002.002.001. | 194.7 | Labour | 0 | 0.0000
191276 | W5+W6 Upto Basement 2 Floor lvl-86.80 RCC Labour Work | Sq.Ft | 16416.2900 | 16416.2900 | 4097 | RCC Retaining Wall | Sq.Ft | 4150.4300 | 194.7 | 132.001.001.002.002.003.001. | 194.7 | Labour | 0 | 0.0000
191277 | W5+W6 Upto Basement 1 Floor lvl-89.70 RCC Labour Work | Sq.Ft | 16416.2900 | 16416.2900 | 4097 | RCC Retaining Wall | Sq.Ft | 4150.4300 | 194.7 | 132.001.001.002.002.004.001. | 194.7 | Labour | 0 | 0.0000
191278 | W5+W6 Upto Lower Ground lvl-92.60 RCC Labour Work | Sq.Ft | 16416.2900 | 16416.2900 | 4097 | RCC Retaining Wall | Sq.Ft | 4150.4300 | 194.7 | 132.001.001.002.002.005.001. | 194.7 | Labour | 0 | 0.0000
191279 | W5+W6 Upto Ground Floor lvl-96.35 RCC Labour Work | Sq.Ft | 17229.0700 | 17229.0700 | 7508 | RCC on area basis 3.7 to 4.6 m ht | Sq.Ft | 17229.0700 | 76.11 | 132.001.001.002.002.006.001. | 76.11 | Labour | 0 | 0.0000
191280 | W5+W6 Upto Parking 1 Floor lvl-99.25 RCC Labour Work | Sq.Ft | 17229.0700 | 17229.0700 | 4097 | RCC Retaining Wall | Sq.Ft | 4150.4300 | 194.7 | 132.001.001.002.002.007.001. | 194.7 | Labour | 0 | 0.0000
269533 | RCC Misc Work | Per Project | 0.0000 | 0.0000 | 3422 | 12mm x 150mm Rebarring | No. | 8.0000 | 224.2 | 132.001.001.002.002.038.001. | 224.2 | Labour | 167 | 57.6000 | C+S GST 18% I/P RD
269533 | RCC Misc Work | Per Project | 0.0000 | 0.0000 | 3421 | 8mm x 150mm Rebarring | No. | 36.0000 | 129.8 | 132.001.001.002.002.038.001. | 129.8 | Labour | 167 | 324.0000 | C+S GST 18% I/P RD
269533 | RCC Misc Work | Per Project | 0.0000 | 0.0000 | 13460 | Crane- | Days | 100.0000 | 9440 | 132.001.001.002.002.038.001. | 9440 | Labour | 167 | 21996.0000 | C+S GST 18% I/P RD
269533 | RCC Misc Work | Per Project | 0.0000 | 0.0000 | 8998 | Scaffolding Removing | Sq.Ft | 19055.0000 | 3 | 132.001.001.002.002.038.001. | 3 | Labour | 0 | 0.0000
269533 | RCC Misc Work | Per Project | 0.0000 | 0.0000 | 8997 | Scafolding Fixing | Sq.Ft | 19055.0000 | 6 | 132.001.001.002.002.038.001. | 6 | Labour | 0 | 0.0000
307777 | Column Strengthening Work RCC Misc. Work | Per Floor | 1.0000 | 0.0000 | 12326 | 10mm x 150mm Rebarring | No. | 2150.0000 | 188.8 | 132.001.001.002.002.041.001. | 188.8 | Labour | 167 | 38700.0000 | C+S GST 18% I/P RD
311238 | 28th Floor Blockwork-Penthouse AAC Brick work 4" | Sq.Ft | 6191.0000 | 6191.0000 | 7139 | Brick work 4" | Sq.Ft | 6191.0000 | 39.24 | 132.001.001.002.003.030.001. | 39.24 | Labour | 0 | 0.0000
311239 | 28th Floor Blockwork-Penthouse AAC Brick work 5" | Sq.Ft | 606.0000 | 606.0000 | 12356 | Brick Work 5" | Sq.Ft | 606.0000 | 39.24 | 132.001.001.002.003.030.002. | 39.24 | Labour | 167 | 2424.0000 | C+S GST 18% I/P RD
311242 | 28th Floor Blockwork-Penthouse AAC Brick work 9" | Sq.Ft | 859.0000 | 859.0000 | 7138 | Brick work 9" | Sq.Ft | 859.0000 | 23.0000 | 132.001.001.002.003.030.005. | 23.0000 | Labour | 195 | 0.0000 | ZERO 0%
311249 | 28th Floor Internal Plaster Work Passage Ready Mix Internal | Sq.Ft | 769.0000 | 769.0000 | 3108 | Internal Plaster | Sq.Ft | 769.0000 | 34.75 | 132.001.001.002.004.035.002. | 34.75 | Labour | 0 | 0.0000
311185 | Terrace Floor Waterproofing Terrace Slab W/P- W1 | Sq.Ft | 1519.2700 | 1519.2700 | 14372 | Laying 150 GSM Geotextile | Sq.Mt | 24927.0000 | 5.49 | 132.001.001.002.006.037.001. | 5.49 | Labour | 167 | 4486.8600 | C+S GST 18% I/P RD
311215 | Garden Floor Waterproofing | Sq.Ft | 364.6800 | 364.6800 | 10382 | P/A Geo Textile Fabric | Sq.Ft | 365.0000 | 5.49 | 132.001.001.002.006.042.001. | 5.49 | Labour | 0 | 0.0000
295935 | Aluform Material | Per Project | 0.0000 | 0.0000 | 14659 | Aluform Material Cleaning | Sq.Mt | 2117.0000 | 665.52 | 132.001.001.002.007.001. | 665.52 | Labour | 167 | 133371.0000 | C+S GST 18% I/P RD
310563 | Mivan Material Shifting Work | Per Project | 0.0000 | 0.0000 | 4162 | Fabrication Work | Kgs | 3000.0000 | 24 | 132.001.001.002.007.002. | 24 | Labour | 167 | 9000.0000 | C+S GST 18% I/P RD
311630 | 3rd Floor Window Railing | Sq.Ft | 751.0000 | 751.0000 | 9014 | Railing | Sq.Ft | 751.0000 | 68.44 | 132.001.001.004.001.010.003. | 68.44 | Labour | 0 | 0.0000
311631 | 4th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.011.003. | 68.44 | Labour | 0 | 0.0000
311632 | 5th Floor Window Railing | Sq.Ft | 780.8000 | 780.8000 | 9014 | Railing | Sq.Ft | 780.8000 | 68.44 | 132.001.001.004.001.012.003. | 68.44 | Labour | 0 | 0.0000
311633 | 6th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.013.003. | 68.44 | Labour | 0 | 0.0000
311634 | 7th Floor Window Railing | Sq.Ft | 781.0000 | 781.0000 | 9014 | Railing | Sq.Ft | 781.0000 | 68.44 | 132.001.001.004.001.014.003. | 68.44 | Labour | 0 | 0.0000
311658 | 7th Floor Refuge Area Railing | Sq.Ft | 88.3400 | 88.3400 | 9014 | Railing | Sq.Ft | 88.3400 | 68.44 | 132.001.001.004.001.014.004. | 68.44 | Labour | 0 | 0.0000
311635 | 8th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.015.003. | 68.44 | Labour | 0 | 0.0000
311636 | 9th Floor Window Railing | Sq.Ft | 780.8000 | 780.8000 | 9014 | Railing | Sq.Ft | 780.8000 | 68.44 | 132.001.001.004.001.016.003. | 68.44 | Labour | 0 | 0.0000
311637 | 10th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.017.003. | 68.44 | Labour | 0 | 0.0000
311638 | 11th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.018.003. | 68.44 | Labour | 0 | 0.0000
311639 | 12th Floor Window Railing | Sq.Ft | 781.0000 | 781.0000 | 9014 | Railing | Sq.Ft | 781.0000 | 68.44 | 132.001.001.004.001.019.003. | 68.44 | Labour | 0 | 0.0000
311659 | 12th Floor Refuge Area Railing | Sq.Ft | 88.3400 | 88.3400 | 9014 | Railing | Sq.Ft | 88.3400 | 68.44 | 132.001.001.004.001.019.004. | 68.44 | Labour | 0 | 0.0000
311640 | 13th Floor Window Railing | Sq.Ft | 780.8000 | 780.8000 | 9014 | Railing | Sq.Ft | 780.8000 | 68.44 | 132.001.001.004.001.020.003. | 68.44 | Labour | 0 | 0.0000
311641 | 14th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.021.003. | 68.44 | Labour | 0 | 0.0000
311642 | 15th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.022.003. | 68.44 | Labour | 0 | 0.0000
311643 | 16th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.023.003. | 68.44 | Labour | 0 | 0.0000
311644 | 17th Floor Window Railing | Sq.Ft | 781.0000 | 781.0000 | 9014 | Railing | Sq.Ft | 781.0000 | 68.44 | 132.001.001.004.001.024.003. | 68.44 | Labour | 0 | 0.0000
311661 | 17th Floor Refuge Area Railing | Sq.Ft | 88.3400 | 88.3400 | 9014 | Railing | Sq.Ft | 88.3400 | 68.44 | 132.001.001.004.001.024.004. | 68.44 | Labour | 0 | 0.0000
311645 | 18th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.025.003. | 68.44 | Labour | 0 | 0.0000
311646 | 19th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.026.003. | 68.44 | Labour | 0 | 0.0000
311647 | 20th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.027.003. | 68.44 | Labour | 0 | 0.0000
311648 | 21th Floor Window Railing | Sq.Ft | 780.8000 | 780.8000 | 9014 | Railing | Sq.Ft | 780.8000 | 68.44 | 132.001.001.004.001.028.003. | 68.44 | Labour | 0 | 0.0000
311649 | 22nd Floor Window Railing | Sq.Ft | 781.0000 | 781.0000 | 9014 | Railing | Sq.Ft | 781.0000 | 68.44 | 132.001.001.004.001.029.003. | 68.44 | Labour | 0 | 0.0000
311660 | 22th Floor Refuge Area Railing | Sq.Ft | 88.3400 | 88.3400 | 9014 | Railing | Sq.Ft | 88.3400 | 68.44 | 132.001.001.004.001.029.004. | 68.44 | Labour | 0 | 0.0000
311650 | 23th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.030.003. | 68.44 | Labour | 0 | 0.0000
311651 | 24th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.031.003. | 68.44 | Labour | 0 | 0.0000
311652 | 25th Floor Window Railing | Sq.Ft | 780.8000 | 780.8000 | 9014 | Railing | Sq.Ft | 780.8000 | 68.44 | 132.001.001.004.001.032.003. | 68.44 | Labour | 0 | 0.0000
311653 | 26th Floor Window Railing | Sq.Ft | 780.9200 | 780.9200 | 9014 | Railing | Sq.Ft | 780.9200 | 68.44 | 132.001.001.004.001.033.003. | 68.44 | Labour | 0 | 0.0000
311662 | 27th Floor Refuge Area Railing | Sq.Ft | 88.3400 | 88.3400 | 9014 | Railing | Sq.Ft | 88.3400 | 68.44 | 132.001.001.004.001.034.002. | 68.44 | Labour | 0 | 0.0000
295783 | Fabrication Work - AC Duct Railing | Per Project | 0.0000 | 0.0000 | 27599 | Self Tapping Screw 1" | No. | 300.0000 | 3 | 132.001.001.004.001.039.001. | 3 | Material | 167 | 81.0000 | C+S GST 18% I/P RD
312906 | OWC Shed Refixing Work | No. | 0.0000 | 0.0000 | 3919 | Fabrication & GI Sheet Fixing | Sq.Ft | 1200.0000 | 11 | 132.001.001.004.001.039.003. | 11 | Labour | 0 | 0.0000
312906 | OWC Shed Refixing Work | No. | 0.0000 | 0.0000 | 3965 | Fabrication Work | Sq.Ft | 650.0000 | 21 | 132.001.001.004.001.039.003. | 21 | Labour | 167 | 2600.0000 | C+S GST 18% I/P RD
312906 | OWC Shed Refixing Work | No. | 0.0000 | 0.0000 | 4162 | Fabrication Work | Kgs | 1200.0000 | 22.5 | 132.001.001.004.001.039.003. | 22.5 | Labour | 167 | 3600.0000 | C+S GST 18% I/P RD
287268 | Project Curing line Work | Per Project | 0.0000 | 0.0000 | 8357 | GI Pipe C Class 100 mm Dia (L) | Mtrs | 80.0000 | 542.8 | 132.001.001.005.002.038.001. | 542.8 | Labour | 0 | 0.0000
287268 | Project Curing line Work | Per Project | 0.0000 | 0.0000 | 8918 | GI Pipe C Class 50 mm Dia (L) | Mtrs | 160.0000 | 271.4 | 132.001.001.005.002.038.001. | 271.4 | Labour | 0 | 0.0000
307008 | 3rd / Podium Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.010.002. | 455.48 | Labour | 0 | 0.0000
301366 | Fire Alarm System S&I FAS System | Job | 0.0000 | 0.0000 | 12571 | Laying of 2 Core x 1.5 sq.mm FRLS Armoured Cable -Red | Mtrs | 21798.0000 | 86.8 | 132.001.001.005.003.011.001. | 86.8 | Labour | 0 | 0.0000
307012 | 4th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.012.002. | 455.48 | Labour | 0 | 0.0000
307016 | 5th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.013.002. | 455.48 | Labour | 0 | 0.0000
307020 | 6th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.014.002. | 455.48 | Labour | 0 | 0.0000
307028 | 8th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.016.002. | 455.48 | Labour | 0 | 0.0000
307032 | 9th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.017.002. | 455.48 | Labour | 0 | 0.0000
307036 | 10th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.018.002. | 455.48 | Labour | 0 | 0.0000
307040 | 11th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.019.002. | 455.48 | Labour | 0 | 0.0000
307048 | 13th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.021.002. | 455.48 | Labour | 0 | 0.0000
307052 | 14th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.022.002. | 455.48 | Labour | 0 | 0.0000
307056 | 15th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.023.002. | 455.48 | Labour | 0 | 0.0000
307060 | 16th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.024.002. | 455.48 | Labour | 0 | 0.0000
307068 | 18th Floor Internal Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.026.002. | 455.48 | Labour | 0 | 0.0000
307072 | 19th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.027.002. | 455.48 | Labour | 0 | 0.0000
307076 | 20th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.028.002. | 455.48 | Labour | 0 | 0.0000
307080 | 21st Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.029.002. | 455.48 | Labour | 0 | 0.0000
307088 | 23rd Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.031.002. | 455.48 | Labour | 0 | 0.0000
307116 | 24th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.032.002. | 455.48 | Labour | 0 | 0.0000
307092 | 25th Floor Internal Fire Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.033.002. | 455.48 | Labour | 0 | 0.0000
307096 | 26th Floor Internal Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.034.002. | 455.48 | Labour | 0 | 0.0000
307112 | Terrace Floor Internal Sprinkler System | Per Project | 0.0000 | 0.0000 | 9636 | S & I GI C Class Pipe 25mm dia | Mtrs | 176.0000 | 455.48 | 132.001.001.005.003.038.002. | 455.48 | Labour | 0 | 0.0000
269494 | Plant & Machinery Work | Per Project | 0.0000 | 0.0000 | 11437 | Mini Poclain With Breaker | Hour | 13.0000 | 2832 | 132.001.001.007.001. | 2832 | Labour | 0 | 0.0000
282827 | Tower Crane | Per Project | 1.0000 | 1.0000 | 8996 | Anchor Fixing | No. | 1.0000 | 35400 | 132.001.001.007.007.001. | 35400 | Labour | 167 | 3600.0000 | C+S GST 18% I/P RD
282827 | Tower Crane | Per Project | 1.0000 | 1.0000 | 8995 | Mast Errection | No. | 7.0000 | 3540 | 132.001.001.007.007.001. | 3540 | Labour | 167 | 2520.0000 | C+S GST 18% I/P RD
291884 | B4-B1 FL R. Wall Brick work 14'' | Per Project | 2557.0000 | 0.0000 | 9481 | Brick work 14" | Sq.Ft | 2109.7400 | 99.71 | 132.001.001.009.001.001.001. | 99.71 | Labour | 0 | 0.0000
291885 | B4-B1 FL R. Wall Plaster Work | Per Project | 5114.0000 | 0.0000 | 3036 | Rough Plaster | Sq.Ft | 4219.4800 | 17.7 | 132.001.001.009.001.001.003. | 17.7 | Labour | 0 | 0.0000
257185 | Guniting Work | Per Project | 0.0000 | 0.0000 | 11867 | P/A of Guniting work | Sq.Mt | 1348.0000 | 1475 | 132.001.001.009.001.002.001. | 1475 | Labour | 0 | 0.0000
291444 | Debris Shifting Work | Per Project | 0.0000 | 0.0000 | 5269 | JCB Breaker | Hour | 11.0000 | 1400 | 132.001.001.009.003. | 1400 | Labour | 0 | 0.0000
293590 | Aluform Refurbishment | Per Project | 0.0000 | 0.0000 | 27599 | Self Tapping Screw 1" | No. | 250.0000 | 3 | 132.001.001.010.003. | 3 | Material | 167 | 67.5000 | C+S GST 18% I/P RD
309515 | Aluform Material Skirting Work | Per Project | 0.0000 | 0.0000 | 14998 | Aluform Material Shifting | Job | 1.0000 | 188800 | 132.001.001.010.004. | 188800 | Labour | 167 | 18000.0000 | C+S GST 18% I/P RD